## Slide 1
  MOSKVIN SERGEY
BASICS OF LASER THERAPY
Doctor of Biological Sciences
PhD in Engineering Sciences
e-mail: 7652612@mail.ru
http://www.lazmik.ru
The Federal State-Financed Institution “State Scientific Centre of Laser Medicine under the Federal Medical Biological Agency” of Russia, Moscow, , Department of Rehabilitation and Sports Medicine of Federal State-Funded Educational Institution of Continuing Professional Education “Institute of Advanced Training of FMBA of Russia”
Leading Researcher
Professor

## Slide 2
Electromagnetic waves

## Slide 3
Niels Ryberg Finsen
Nobel Prize in Medicine and Physiology, 1903

## Slide 4
Solar spectrum before (a) and after (b) passing the atmosphere
N. Finsen filtered blue and red
spectrums from a wide spectral
range

## Slide 5
The spectrum width of Finsen’s lamp with filter (a), LED’s (b) lasers (c)

## Slide 6
Energy-dependent (biphase) effect of low-intensity laser light (LILI) interaction with biological tissues (ED = T х Pav./S)

## Slide 7
16th May, 1960
Theodore Maiman created the first laser in the world (Ruby, 694nm)

## Slide 8
Aleksandr M. Prokhorov
(RUSSIA)
Charles H. Townes (USA)
Nikolay G. Basov
(RUSSIA)
Nobel Prize in physics, 1964

## Slide 9
ALFEROV Zhores I.
(RUSSIA)
Nobel Prize in physics (2000)
for creation of laser diodes

## Slide 10
Sun | No | > 3000 | 40-85
Lamp with filter & LED | Limited | > 30 | < 5
Laser | Yes | < 1 | > 95
Comparison of different parameters of light sources
Parameter
Source
Energy
control
The degree
of polarization
The width of
spectral line, nm

## Slide 11
LASER – treatment & health
LED is a lamp

## Slide 12
LASER
Light source
LED
Modes of transport

## Slide 13
Different illumination modes
Pav. = Рp. p.  F
During modulated illumination, average power does not change in the modulation frequency, and in the pulsed mode, laser light it is directly proportional to pulse repetition rate!

## Slide 14
LILI interaction with biological tissues
ED = Pav.• T/S
P = P0 .e-l
- Reflection
- Scattering
- Absorption
Skin

## Slide 15
The main rule – all parameters of laser action must be
specified in the following sequence:
– wavelength and mode of operation of the laser;
– average or pulsed power of illumination;
– frequency for pulsed or modulated mode;
– localization and area of impact;
– exposure to the zone and the total time of the procedure;
– number and frequency of procedures.
Area of illumination is distinguished by special nozzles.
The parameters of effective
low-level laser therapy

## Slide 16
In laser therapy, there is no such parameter
as "dose" or “dosage”!
There is "energy" = power  time [J] and
"Energy density" = Energy/area [J/cm2].
The arithmetic demonstrations are absolutely not necessary!
They only hinder the effectiveness of laser therapy!
The parameters of effective
low-level laser therapy

## Slide 17
The ED may be the same (most often the optimal 1J/cm2)
in three different situations (assuming a contact-mirror technique
and an effective area of 1cm2):
the power of 1mW is multiplied by the exposure time 1000 seconds
(about 15 mins) = 1J/cm2;
2) the power of 1000mW is multiplied by the exposure time
1 second = 1J/cm2;
3) the power of 10mW is multiplied by the exposure time 100 seconds
(about 1.5 minutes) = 1J/cm2.
But the effect, i.e., a positive result of the treatment, will be ONLY
in the 3rd case, when all the optimal parameters are given,
and even then, only for lasers of continuous operation with
a wavelength of 635nm (red spectrum).
In options 1 and 2, there will be no curative effect
for any laser or mode of operation!!!!
The parameters of effective
low-level laser therapy

## Slide 18
The sequence of the development of biological effects
of laser exposure

## Slide 19
50
100
150
200
250
300
90
100
110
120
130
140
Time, s
100
200
300
400
500
Ca2+ concentration
Mitochondrial redox-potential
Intracellular Ca2+ oscillations evoked by laser light
(Alexandratou E., Yova D., Handris P. et al. Human fibroblast alterations induced by low power laser irradiation at the single cell level using confocal microscopy // Photoch. & Photob. Sciences. – 2002, 1 (8). – P. 547-552.)

## Slide 20
A patient suffering from type 2 diabetes (about 4 years) before treatment (depleted capillary network,
reduced blood flow, capillary deformation typical of diabetic microangiopathy)
The same patient after ten sessions of LLLT – increase of capillary network density, blood flow velocity,
form of capillaries (study material - prof. Duvanskiy V.A.)

## Slide 21
  USDG (ultrasound dopplerography) dynamics after a course of matrix laser therapy. Arteriodilatate effect.

## Slide 22
Activation of microcirculation
NO – precursor of cell-derived factor of endothelium blood vessel walls relax (EDRF – Endothelium derived relaxing factor),
Subsidiary microcirculatory bloodstream is used
2. Anti-inflammatory effect
Change of PG, decrease of PGE2 and increase of PGF2 level
Alignment of osmotic pressure due to strengthening of microcirculation
Reducing swelling of tissues
Change of ACTH level
Release of cytokines - proteins which transfer signals between lymphocytes, phagocytes and other cells (interferons, interleukins, TNF TFR - inflammatory mediators)
Main mechanisms of LLLT biological action
at the organismal level

## Slide 23
Main mechanisms of LLLT biological action
at the organism level (part 2)
4. Stimulation of reparative processes
Increase of mitochondrial redox-potential
Increase of ATP synthesis
Reduction of G1 phase of the cell cycle
Activated transition from G1 to S0 phase
Increase of fibroblast proliferation, release of bFGF
Epithelialization, collagen and protein synthesis, capillaries growth and etc.
3. Analgesia
Increase of endorphins and enkephalins production
Activation of neuronal metabolism
Increase of pain threshold

## Slide 24
5. Immune stimulation
Increase of immune cells (leukocytes) proliferation
Acceleration of immune cells aging
Changes in the ratio of T-helper / T-suppressor
Increase of Ig production
6. Reflexogenic action
Irritation of nerve endings
Excitation of nerve centers
Stimulation of physiological functions
7. Antispasmodic action
Change of Са2+ via a large family of transient receptor proteins (TRP) ion channels enables the reduction or relaxation of smooth muscles
Main mechanisms of LLLT biological action
at the organismal level (part 3)

## Slide 25
Main laser therapy techniques
1. External :
locally (percutaneously) stably
locally (percutaneously) labile
on acupuncture points
on Zakharyin-Ged zone
paravertebrally
on the projection of internal organs
on the projection of vascular bundles
on the projection of immune organs
2. Abdominal procedures
3. Intravenous laser illumination of blood (ILIB)
4. Associated:
magnetic laser therapy
laser-vacuum therapy
local laser negative pressure
vibromagnetic therapy
laserphoresis

## Slide 26
Building-block concept of laser therapeutic devices

## Slide 27
Literature
on laser therapy
Research Center «Matrix»

## Slide 28
A new series
of books
«Effective
laser therapy»

## Slide 29: Best books for laser therapy